## Sheet1
East Bridgford Village Hall, Hot Work Permit | [8 empty] | Date | ___ / ___ / ______
Describe Who, What, Where and Why |  |  |  | Complete the highlighted sections below |  |  |  | Guidance
Who is issuing the 'Hot Work' permit? | [7 empty] | Only a member of the Village Hall management committee is authorised to issue a 'Hot Work' permit
Who wishes to undertake the 'Hot Work' activity? | [7 empty] | Village hall user, Contractor, Service Provider etc..
Describe the intended 'Hot Work' activity | [7 empty] | Hot Work' is an activity that produces open flames, heat or sparks that is not included in the village hall fire safety risk assessment. Examples include brazing, gas cutting, grinding, soldering, welding, torch applied roofing and the use of bitumen boilers.
Describe the location the 'Hot Work' is to be undertaken | [7 empty] | Describe exactly where the 'Hot Work' is to be undertaken e.g. Committee Room, cupboard under the sink.
Describe why this 'Hot Work' activity cannot be avoided | [7 empty] | Seriously consider what is technically possible to avoid 'Hot Work' rather than what is quick, easy or convenient. Consider the following alternatives: - Cold cutting rather than grinding or flame cutting, - Bonding with glue or fixing by thread/bolts/screws rather than welding, - Substitute candle flames for LED lights, - Using compression fittings rather than soldering pipe work, - Using fibre glass coatings rather than bitumen
Evaluate the fire hazards/risks and determine the control measures associated with the intended 'Hot Work' activity
Identify potential fuel sources within 5m of the 'Hot Work' activity |  |  | Identify sources of ignition |  |  |  |  | Detail the Control Measures to prevent a fire starting
Guidance: Consider Rubish bins, cardboard packaging and paper, flammable gases or liquids, the presence of electrical cables, wooden or carpet flooring, curtains, furniture, paint pots, wooden structures, fabric/paper coverings, sponge/rubber mats, roofing materials etc.. |  |  | Sparks | Molten Splatter or Slag | Heat Conduction | Heat Radiation | Naked Flames | Guidance: - Remove as much flammable materials as is possible from the 'Hot Work' location - Box in the 'Hot Work' activity with fire blankets to stop hot debris escaping - Shield flammable materials with fire blankets to prevent exposure to heat. Particularly directly underneath the hot work activity. -Consider cooling, damping and regular temperature checks as a means of arresting heat travel along conductive material.
1
2
3
4
5
Emergency Planning
Guidance: Determine what type of fire fighting equipment is suitable for extinguishing a fire associated with the fuel sources identified above. (Note:- during the 'Hot Work' activity and at least 30mins after the 'Hot Work ' activity has finished, a fire watcher must be present to observe for fire and take action to extinguish the fire and if necessary, raise the alarm. Operations must cease immediately if the fire fighting equipment is deployed and the incident must be reported to the permit issuer.)
Fire fighting equipment |  | Yes | No | Those involved in the 'Hot Work' activity must know what to do in the event of a fire |  |  | Identify the nearest 'Call Point' |  | Identify the fire assembly point
Charged water hose
Foam extinguisher
Water extinguisher
Powder extinguisher
Identify who will be the designated fire watcher (Guidance: This must be someone other than the person undertaking the 'Hot Work' activity)
Declarations
Permit Issuer (Authorisation) | I have personally inspected the work area and confirmed the necessary control measures identified on this permit are in place and give permission for 'Hot Work' to commence. (Note: This permit is valid for one day only)
| Signed | [5 empty] | Date |  | Time
Person undertaking the 'Hot Work' | I understand this permit is valid for one day only and I agree to work in accordance with the control measures identified above.
| Signed | [5 empty] | Date |  | Time
Permit Issuer (Cancellation) | Permission for the 'Hot Work' activity listed on this permit is withdrawn and any fire detection systems that were disarmed for the duration of the 'Hot Work' activity have been reinstated.
| Signed | [5 empty] | Date |  | Time
[10 empty] | V 1.0 | (11/10/2025)